Trincomali Improvement District Water Consumption for:

Month of January,  2026

All water readings, listed highest to lowest, over 40 Imperial gallons or 182 litres per day.

| Residency Code | litres/day | gal./day |
| --- | --- | --- |
| 389 | 478 | 105 |
| 992 | 381 | 84 |
| 787 | 342 | 75 |
| 5118 | 332 | 73 |
| 980 | 302 | 66 |
| 792 | 268 | 59 |
| 780 | 266 | 59 |
| 5115 | 260 | 57 |
| 9115 | 250 | 55 |

| Residency Code | litres/day | gal./day |
| --- | --- | --- |
| 786 | 249 | 55 |
| 987 | 246 | 54 |
| 9117 | 232 | 51 |
| 186 | 224 | 49 |
| 382 | 221 | 49 |
| 380 | 213 | 47 |
| 795 | 208 | 46 |
| 5116 | 187 | 41 |

Water is to be used sparingly for essential domestic purposes only.

Trincomali guidelines for reasonable water use are as follows:

For a 2 person household, 60 – 70 Imp. gallons per day (272 – 318 litres/day).

For a 4 person household, 110 – 130 Imp. gallons per day (500 – 590 litres/day).

If you receive a copy of this notice via email, or through your door, please be assured that it is not an indication that your residence is using too much water unless you have exceeded the ‘reasonable use’ guide.

The T.I.D. is governed and operated by volunteers; we also depend on our consumers to help monitor the complete water system. Reading the meters and posting the usage, over 40 Imp. gallons, is important in detecting leaks and other anomalies.

Personal Privacy: Please note that there are no names or addresses listed, but a Residency Code. If your residence is on this list, you will receive this list, including the Residency Code assigned to your home.